## LIVD Publication
Publisher | bioMérieux
Document Identifier | BFR0002-8483
Publication date | September 2024
Publisher URL | https://www.biofiredx.com/support/documents/#toggle-id-4
Publisher Statement | bioMérieux will ensure the accuracy of the enclosed LOINC® codes upon each bi-annual LOINC® version release, and will keep internal record of these reviews. A new version of this spreadsheet will only be released if changes to the codes have been made. The BIOFIRE® SPOTFIRE® Respiratory/Sore Throat (R/ST) Panel (SPOTFIRE R/ST Panel) test kit is a single product with two intended uses, where the intended use for a given test is based upon the sample type selected by the operator based on patient signs and symptoms and sample type collected. The SPOTFIRE R/ST Panel is a multiplexed polymerase chain reaction (PCR) test intended for use with the BIOFIRE® SPOTFIRE® System for the simultaneous, qualitative detection and identification of multiple respiratory viral and bacterial nucleic acids in nasopharyngeal swab (NPS) specimens obtained from individuals with signs and symptoms of respiratory tract infections, including COVID-19 (Respiratory), or in throat swab (TS) specimens obtained from individuals with signs and/or symptoms of pharyngitis (Sore Throat). WARNING: Because throat swab as a sample type for Coronavirus SARS-CoV-2 detection may vary by location, there are two versions of the BIOFIRE® SPOTFIRE® Respiratory/Sore Throat Panel software associated with the pouch: • v4.0.4: Reports Coronavirus SARS-CoV-2 for the Throat Swab sample type • v4.0.100 (this guide): Does not report Coronavirus SARS-CoV-2 for the Throat Swab sample type Users of this guide should verify the appropriate version used by institution for proper mapping. Contact your local bioMérieux subsidiary or distributor for details.
Legal Statement | The LOINC® codes provided are potentially representative of, but not limited to, tests performed using the BIOFIRE® SPOTFIRE® Panels, and are provided for illustrative purposes only. They are available from public, third-party sources. Individual laboratories are responsible for exercising independent clinical judgment in selecting the codes that most accurately reflect the procedures and tests performed. The information provided does not constitute recommendations on determining codes. LOINC® codes are complex and may be subject to change. All decisions regarding coding must be made by the laboratory or healthcare provider and should be made by referring to the current, complete, and authoritative LOINC® publication. This document makes no representations or warranties as to selecting codes for procedures, product coverage, code accuracy, or compliance with any other coding systems or prerequisites. This information cannot cover all situations or all third-party rules or policies, nor can use of the information guarantee accuracy of the testing performed.
LOINC Copyright | This material contains content from LOINC (http://loinc.org). LOINC is copyright © 1995-2024, Regenstrief Institute, Inc. and the Logical Observation Identifiers Names and Codes (LOINC) Committee and is available at no cost under the license at http://loinc.org/license. LOINC® is a registered United States trademark of Regenstrief Institute, Inc.
Localization | en-US
Region

## Release Notes
BFR0002-8483-01 Release Notes | This is the first release of LOINC® codes for the BIOFIRE® SPOTFIRE® Respiratory/Sore Throat Panel, specific to software version v4.0.100.

## R Menu LOINC Mapping
Vendor Equipment Mapping
Equipment |  |  |  | IVD Test Mapping
|  |  |  | IVD Test Performed | [8 empty] | LOINC
MUST HAVE | MUST HAVE | MAY HAVE | MAY HAVE | MUST HAVE | MUST HAVE | MUST HAVE | MUST HAVE | MUST HAVE | MAY HAVE | MAY HAVE | MAY HAVE | MAY HAVE | MAY HAVE | MUST HAVE, IF LOINC populated | MUST HAVE, IF LOINC populated | MUST HAVE, IF LOINC populated | MUST HAVE, IF LOINC populated | MUST HAVE, IF LOINC populated | MUST HAVE, IF LOINC populated | MUST HAVE, IF LOINC populated | MUST HAVE, IF LOINC populated
Manufacturer | Model | Equipment UID | Equipment UID Type | Publication Version ID | Vendor Analyte Code | Vendor Analyte Name | Vendor Specimen Description | Vendor Result Description | Vendor Reference ID | Testkit UID | Testkit UID Type | Vendor Comment | LOINC Code | LOINC Long Name | Component | Property | Time | System | Scale | Method | LOINC Version ID
BioFire Diagnostics, LLC | SPOTFIRE | See UID Tab | GTIN | 01 | RMS | Respiratory Menu | Nasopharyngeal Swab | Ordinal |  | See UID Tab | GTIN |  | 82159-5 | Respiratory pathogens DNA and RNA panel - Nasopharynx by NAA with non-probe detection | Respiratory pathogens DNA & RNA panel | - | Pt | Nph | - | Non-probe.amp.tar | 2.77
BioFire Diagnostics, LLC | SPOTFIRE | See UID Tab | GTIN | 01 | RSSx01001 | Adenovirus | Nasopharyngeal Swab | Ordinal Negative, Positive |  | See UID Tab | GTIN |  | 82160-3 | Adenovirus DNA [Presence] in Nasopharynx by NAA with non-probe detection | Adenovirus DNA | PrThr | Pt | Nph | Ord | Non-probe.amp.tar | 2.73
BioFire Diagnostics, LLC | SPOTFIRE | See UID Tab | GTIN | 01 | RSSx02001 | Bordetella parapertussis | Nasopharyngeal Swab | Ordinal Negative, Positive |  | See UID Tab | GTIN |  | 87621-9 | Bordetella parapertussis IS1001 DNA [Presence] in Nasopharynx by NAA with non-probe detection | Bordetella parapertussis IS1001 DNA | PrThr | Pt | Nph | Ord | Non-probe.amp.tar | 2.73
BioFire Diagnostics, LLC | SPOTFIRE | See UID Tab | GTIN | 01 | RSSx02002 | Bordetella pertussis | Nasopharyngeal Swab | Ordinal Negative, Positive |  | See UID Tab | GTIN |  | 101284-8 | Bordetella pertussis DNA [Presence] in Nasopharynx by NAA with non-probe detection | Bordetella pertussis DNA | PrThr | Pt | Nph | Ord | Non-probe.amp.tar | 2.75
BioFire Diagnostics, LLC | SPOTFIRE | See UID Tab | GTIN | 01 | RSSx02003 | Chlamydia pneumoniae | Nasopharyngeal Swab | Ordinal Negative, Positive |  | See UID Tab | GTIN |  | 82178-5 | Chlamydophila pneumoniae DNA [Presence] in Nasopharynx by NAA with non-probe detection | Chlamydophila pneumoniae DNA | PrThr | Pt | Nph | Ord | Non-probe.amp.tar | 2.73
BioFire Diagnostics, LLC | SPOTFIRE | See UID Tab | GTIN | 01 | RSSx01002 | Coronavirus SARS-CoV-2 | Nasopharyngeal Swab | Ordinal Negative, Positive |  | See UID Tab | GTIN |  | 94565-9 | SARS-CoV-2 (COVID-19) RNA [Presence] in Nasopharynx by NAA with non-probe detection | SARS coronavirus 2 RNA | PrThr | Pt | Nph | Ord | Non-probe.amp.tar | 2.73
BioFire Diagnostics, LLC | SPOTFIRE | See UID Tab | GTIN | 01 | RSSx01003 | Coronavirus (seasonal) | Nasopharyngeal Swab | Ordinal Negative, Positive |  | See UID Tab | GTIN |  | 88891-7 | Human coronavirus 229E+HKU1+NL63+OC43 RNA [Presence] in Nasopharynx by NAA with non-probe detection | Human coronavirus 229E+HKU1+NL63+OC43 RNA | PrThr | Pt | Nph | Ord | Non-probe.amp.tar | 2.66
BioFire Diagnostics, LLC | SPOTFIRE | See UID Tab | GTIN | 01 | RSSx01004 | Human metapneumovirus | Nasopharyngeal Swab | Ordinal Negative, Positive |  | See UID Tab | GTIN |  | 82165-2 | Human metapneumovirus RNA [Presence] in Nasopharynx by NAA with non-probe detection | Human metapneumovirus RNA | PrThr | Pt | Nph | Ord | Non-probe.amp.tar | 2.73
BioFire Diagnostics, LLC | SPOTFIRE | See UID Tab | GTIN | 01 | RSSx01005 | Human rhinovirus/enterovirus | Nasopharyngeal Swab | Ordinal Negative, Positive |  | See UID Tab | GTIN |  | 82175-1 | Rhinovirus+Enterovirus RNA [Presence] in Nasopharynx by NAA with non-probe detection | Rhinovirus+Enterovirus RNA | PrThr | Pt | Nph | Ord | Non-probe.amp.tar | 2.73
BioFire Diagnostics, LLC | SPOTFIRE | See UID Tab | GTIN | 01 | RSSx01006 | Influenza A virus | Nasopharyngeal Swab | Ordinal Negative, Positive, Uncertain |  | See UID Tab | GTIN |  | 82166-0 | Influenza virus A RNA [Presence] in Nasopharynx by NAA with non-probe detection | Influenza virus A RNA | PrThr | Pt | Nph | Ord | Non-probe.amp.tar | 2.73
BioFire Diagnostics, LLC | SPOTFIRE | See UID Tab | GTIN | 01 | RSSx01007 | Influenza A virus A/H1-2009 | Nasopharyngeal Swab | Ordinal Negative, Positive |  | See UID Tab | GTIN |  | 82168-6 | Influenza virus A H1 2009 pandemic RNA [Presence] in Nasopharynx by NAA with non-probe detection | Influenza virus A H1 2009 pandemic RNA | PrThr | Pt | Nph | Ord | Non-probe.amp.tar | 2.73
BioFire Diagnostics, LLC | SPOTFIRE | See UID Tab | GTIN | 01 | RSSx01008 | Influenza A virus A/H3 | Nasopharyngeal Swab | Ordinal Negative, Positive |  | See UID Tab | GTIN |  | 82169-4 | Influenza virus A H3 RNA [Presence] in Nasopharynx by NAA with non-probe detection | Influenza virus A H3 RNA | PrThr | Pt | Nph | Ord | Non-probe.amp.tar | 2.73
BioFire Diagnostics, LLC | SPOTFIRE | See UID Tab | GTIN | 01 | RSSx01009 | Influenza B virus | Nasopharyngeal Swab | Ordinal Negative, Positive |  | See UID Tab | GTIN |  | 82170-2 | Influenza virus B RNA [Presence] in Nasopharynx by NAA with non-probe detection | Influenza virus B RNA | PrThr | Pt | Nph | Ord | Non-probe.amp.tar | 2.73
BioFire Diagnostics, LLC | SPOTFIRE | See UID Tab | GTIN | 01 | RSSx02004 | Mycoplasma pneumoniae | Nasopharyngeal Swab | Ordinal Negative, Positive |  | See UID Tab | GTIN |  | 82177-7 | Mycoplasma pneumoniae DNA [Presence] in Nasopharynx by NAA with non-probe detection | Mycoplasma pneumoniae DNA | PrThr | Pt | Nph | Ord | Non-probe.amp.tar | 2.73
BioFire Diagnostics, LLC | SPOTFIRE | See UID Tab | GTIN | 01 | RSSx01010 | Parainfluenza virus | Nasopharyngeal Swab | Ordinal Negative, Positive |  | See UID Tab | GTIN |  | 88890-9 | Parainfluenza virus 1+2+3+4 RNA [Presence] in Nasopharynx by NAA with non-probe detection | Parainfluenza virus 1+2+3+4 RNA | PrThr | Pt | Nph | Ord | Non-probe.amp.tar | 2.64
BioFire Diagnostics, LLC | SPOTFIRE | See UID Tab | GTIN | 01 | RSSx01011 | Respiratory syncytial virus | Nasopharyngeal Swab | Ordinal Negative, Positive |  | See UID Tab | GTIN |  | 82176-9 | Respiratory syncytial virus RNA [Presence] in Nasopharynx by NAA with non-probe detection | Respiratory syncytial virus RNA | PrThr | Pt | Nph | Ord | Non-probe.amp.tar | 2.73

## ST Menu LOINC Mapping
Vendor Equipment Mapping
Equipment |  |  |  | IVD Test Mapping
|  |  |  | IVD Test Performed | [8 empty] | LOINC
MUST HAVE | MUST HAVE | MAY HAVE | MAY HAVE | MUST HAVE | MUST HAVE | MUST HAVE | MUST HAVE | MUST HAVE | MAY HAVE | MAY HAVE | MAY HAVE | MAY HAVE | MAY HAVE | MUST HAVE, IF LOINC populated | MUST HAVE, IF LOINC populated | MUST HAVE, IF LOINC populated | MUST HAVE, IF LOINC populated | MUST HAVE, IF LOINC populated | MUST HAVE, IF LOINC populated | MUST HAVE, IF LOINC populated | MUST HAVE, IF LOINC populated
Manufacturer | Model | Equipment UID | Equipment UID Type | Publication Version ID | Vendor Analyte Code | Vendor Analyte Name | Vendor Specimen Description | Vendor Result Description | Vendor Reference ID | Testkit UID | Testkit UID Type | Vendor Comment | LOINC Code | LOINC Long Name | Component | Property | Time | System | Scale | Method | LOINC Version ID
BioFire Diagnostics, LLC | SPOTFIRE | See UID Tab | GTIN | 01 | STS | Sore Throat Menu | Throat Swab | Ordinal |  | See UID Tab | GTIN |  | 101285-5 | Pharyngeal pathogens DNA and RNA panel - Throat by NAA with non-probe detection | Pharyngeal pathogens DNA & RNA panel | - | Pt | Thrt | - | Non-probe.amp.tar | 2.75
BioFire Diagnostics, LLC | SPOTFIRE | See UID Tab | GTIN | 01 | RSSx01001 | Adenovirus | Throat Swab | Ordinal Negative, Positive |  | See UID Tab | GTIN |  | 101286-3 | Adenovirus DNA [Presence] in Throat by NAA with non-probe detection | Adenovirus DNA | PrThr | Pt | Thrt | Ord | Non-probe.amp.tar | 2.75
BioFire Diagnostics, LLC | SPOTFIRE | See UID Tab | GTIN | 01 | RSSx02003 | Chlamydia pneumoniae | Throat Swab | Ordinal Negative, Positive |  | See UID Tab | GTIN |  | 101287-1 | Chlamydophila pneumoniae DNA [Presence] in Throat by NAA with non-probe detection | Chlamydophila pneumoniae DNA | PrThr | Pt | Thrt | Ord | Non-probe.amp.tar | 2.75
BioFire Diagnostics, LLC | SPOTFIRE | See UID Tab | GTIN | 01 | RSSx01003 | Coronavirus (seasonal) | Throat Swab | Ordinal Negative, Positive |  | See UID Tab | GTIN |  | 101288-9 | Human coronavirus 229E+HKU1+NL63+OC43 RNA [Presence] in Throat by NAA with non-probe detection | Human coronavirus 229E+HKU1+NL63+OC43 RNA | PrThr | Pt | Thrt | Ord | Non-probe.amp.tar | 2.75
BioFire Diagnostics, LLC | SPOTFIRE | See UID Tab | GTIN | 01 | RSSx01004 | Human metapneumovirus | Throat Swab | Ordinal Negative, Positive |  | See UID Tab | GTIN |  | 101290-5 | Human metapneumovirus RNA [Presence] in Throat by NAA with non-probe detection | Human metapneumovirus RNA | PrThr | Pt | Thrt | Ord | Non-probe.amp.tar | 2.75
BioFire Diagnostics, LLC | SPOTFIRE | See UID Tab | GTIN | 01 | RSSx01005 | Human rhinovirus/enterovirus | Throat Swab | Ordinal Negative, Positive |  | See UID Tab | GTIN |  | 101291-3 | Rhinovirus+Enterovirus RNA [Presence] in Throat by NAA with non-probe detection | Rhinovirus+Enterovirus RNA | PrThr | Pt | Thrt | Ord | Non-probe.amp.tar | 2.75
BioFire Diagnostics, LLC | SPOTFIRE | See UID Tab | GTIN | 01 | RSSx01006 | Influenza A virus | Throat Swab | Ordinal Negative, Positive, Uncertain |  | See UID Tab | GTIN |  | 101292-1 | Influenza virus A RNA [Presence] in Throat by NAA with non-probe detection | Influenza virus A RNA | PrThr | Pt | Thrt | Ord | Non-probe.amp.tar | 2.75
BioFire Diagnostics, LLC | SPOTFIRE | See UID Tab | GTIN | 01 | RSSx01007 | Influenza A virus A/H1-2009 | Throat Swab | Ordinal Negative, Positive |  | See UID Tab | GTIN |  | 101293-9 | Influenza virus A H1 2009 pandemic RNA [Presence] in Throat by NAA with non-probe detection | Influenza virus A H1 2009 pandemic RNA | PrThr | Pt | Thrt | Ord | Non-probe.amp.tar | 2.75
BioFire Diagnostics, LLC | SPOTFIRE | See UID Tab | GTIN | 01 | RSSx01008 | Influenza A virus A/H3 | Throat Swab | Ordinal Negative, Positive |  | See UID Tab | GTIN |  | 101294-7 | Influenza virus A H3 RNA [Presence] in Throat by NAA with non-probe detection | Influenza virus A H3 RNA | PrThr | Pt | Thrt | Ord | Non-probe.amp.tar | 2.75
BioFire Diagnostics, LLC | SPOTFIRE | See UID Tab | GTIN | 01 | RSSx01009 | Influenza B virus | Throat Swab | Ordinal Negative, Positive |  | See UID Tab | GTIN |  | 101295-4 | Influenza virus B RNA [Presence] in Throat by NAA with non-probe detection | Influenza virus B RNA | PrThr | Pt | Thrt | Ord | Non-probe.amp.tar | 2.75
BioFire Diagnostics, LLC | SPOTFIRE | See UID Tab | GTIN | 01 | RSSx02004 | Mycoplasma pneumoniae | Throat Swab | Ordinal Negative, Positive |  | See UID Tab | GTIN |  | 101296-2 | Mycoplasma pneumoniae DNA [Presence] in Throat by NAA with non-probe detection | Mycoplasma pneumoniae DNA | PrThr | Pt | Thrt | Ord | Non-probe.amp.tar | 2.75
BioFire Diagnostics, LLC | SPOTFIRE | See UID Tab | GTIN | 01 | RSSx01010 | Parainfluenza virus | Throat Swab | Ordinal Negative, Positive |  | See UID Tab | GTIN |  | 101297-0 | Parainfluenza virus 1+2+3+4 RNA [Presence] in Throat by NAA with non-probe detection | Parainfluenza virus 1+2+3+4 RNA | PrThr | Pt | Thrt | Ord | Non-probe.amp.tar | 2.75
BioFire Diagnostics, LLC | SPOTFIRE | See UID Tab | GTIN | 01 | RSSx01011 | Respiratory syncytial virus | Throat Swab | Ordinal Negative, Positive |  | See UID Tab | GTIN |  | 101298-8 | Respiratory syncytial virus RNA [Presence] in Throat by NAA with non-probe detection | Respiratory syncytial virus RNA | PrThr | Pt | Thrt | Ord | Non-probe.amp.tar | 2.75
BioFire Diagnostics, LLC | SPOTFIRE | See UID Tab | GTIN | 01 | RSSx02005 | Streptococcus dysgalactiae (group C/G Strep) | Throat Swab | Ordinal Negative, Positive |  | See UID Tab | GTIN |  | 101299-6 | Streptococcus dysgalactiae subspecies equisimilis DNA [Presence] in Throat by NAA with non-probe detection | Streptococcus dysgalactiae subspecies equisimilis DNA | PrThr | Pt | Thrt | Ord | Non-probe.amp.tar | 2.75
BioFire Diagnostics, LLC | SPOTFIRE | See UID Tab | GTIN | 01 | RSSx02006 | Streptococcus pyogenes (group A Strep) | Throat Swab | Ordinal Negative, Positive |  | See UID Tab | GTIN |  | 101300-2 | Streptococcus pyogenes DNA [Presence] in Throat by NAA with non-probe detection | Streptococcus pyogenes DNA | PrThr | Pt | Thrt | Ord | Non-probe.amp.tar | 2.75

## UID
Model | Equipment UID
SPOTFIRE CONTROL STATION | 00815381020055
SPOTFIRE CONTROL STATION (W) | 00815381020352
SPOTFIRE MODULE | 00815381020369
SPOTFIRE MODULE (W) | 00815381020376
Panel | Testkit UID
SPOTFIRE R/ST PANEL, 30 TESTS | 00815381020390