## LIVD Publication
Publisher | bioMérieux
Document Identifier | RFIT-PRT-0904
Publisher Date | September 2024
Publisher URL | https://www.biofiredx.com/wp-content/uploads/2018/03/ME-Panel-v1.4-LOINC-Table.xlsx
Publisher Statement | bioMérieux will ensure the accuracy of the enclosed LOINC® codes upon each bi-annual LOINC® version release, and will keep internal record of these reviews. A new version of this spreadsheet will only be released if changes to the codes have been made. The BioFire® FilmArray® Meningitis/Encephalitis (ME) Panel is a qualitative multiplexed nucleic acid-based in vitro diagnostic test intended for use with BioFire® FilmArray® Systems. The BioFire ME Panel is capable of simultaneous detection and identification of multiple bacterial, viral, and yeast nucleic acids directly from cerebrospinal fluid (CSF) specimens obtained via lumbar puncture from individuals with signs and/or symptoms of meningitis and/or encephalitis.
Legal Statement | The LOINC® codes provided are potentially representative of, but not limited to, tests performed using the BioFire® FilmArray® Panels, and are provided for illustrative purposes only. They are available from public, third-party sources. Individual laboratories are responsible for exercising independent clinical judgment in selecting the codes that most accurately reflect the procedures and tests performed. The information provided does not constitute recommendations on determining codes. LOINC® codes are complex and may be subject to change. All decisions regarding coding must be made by the laboratory or healthcare provider and should be made by referring to the current, complete, and authoritative LOINC® publication. This document makes no representations or warranties as to selecting codes for procedures, product coverage, code accuracy, or compliance with any other coding systems or prerequisites. This information cannot cover all situations or all third-party rules or policies, nor can use of the information guarantee accuracy of the testing performed.
LOINC Copyright | This material contains content from LOINC (http://loinc.org). LOINC is copyright © 1995-2024, Regenstrief Institute, Inc. and the Logical Observation Identifiers Names and Codes (LOINC) Committee and is available at no cost under the license at http://loinc.org/license. LOINC® is a registered United States trademark of Regenstrief Institute, Inc.
Localization | en-US
Region

## Release Notes
RFIT-PRT-0904-01 Release Notes | This is the first release of LOINC® codes for the FilmArray® Meningitis/Encephilitis (ME) Panel v1.4.
RFIT-PRT-0904-02 Release Notes | This is the second release of LOINC® codes for the FilmArray® Meningitis/Encephilitis (ME) Panel v1.4. This release includes: • update to new LIVD format • added 'Equipment UID' and 'Equipment UID Type' for FilmArray 2.0 and FilmArray Torch • updated 'Publication Version ID' • added 'Vendor Analyte Code' for the ME panel code • updated 'Vendor Analyte Name' for the ME panel code • updated 'Vendor Result Description' to include possible results for each analyte • added 'TestKit UID' and 'TestKit UID Type' • added 'LOINC Version ID' for each analyte • updated LOINC Long Name and LOINC Component for LOINC code 82180-1

## LOINC Mapping
Vendor Equipment Mapping
Equipment |  |  |  | IVD Test Mapping
|  |  |  | IVD Test Performed | [8 empty] | LOINC
MUST HAVE | MUST HAVE | MAY HAVE | MAY HAVE | MUST HAVE | MUST HAVE | MUST HAVE | MUST HAVE | MUST HAVE | MAY HAVE | MAY HAVE | MAY HAVE | MAY HAVE | MAY HAVE | MUST HAVE, IF LOINC populated | MUST HAVE, IF LOINC populated | MUST HAVE, IF LOINC populated | MUST HAVE, IF LOINC populated | MUST HAVE, IF LOINC populated | MUST HAVE, IF LOINC populated | MUST HAVE, IF LOINC populated | MUST HAVE, IF LOINC populated
Manufacturer | Model | Equipment UID | Equipment UID Type | Publication Version ID | Vendor Analyte Code | Vendor Analyte Name | Vendor Specimen Description | Vendor Result Description | Vendor Reference ID | Testkit UID | Testkit UID Type | Vendor Comment | LOINC Code | LOINC Long Name | Component | Property | Time | System | Scale | Method | LOINC Version ID
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 02 | ME | Meningitis / Encephalitis (ME) Panel - IVD | Cerebrospinal fluid (CSF) specimens obtained via lumbar puncture | Ordinal |  | See UID Tab | GTIN |  | 82180-1 | Meningitis+Encephalitis pathogens panel - Cerebral spinal fluid by NAA with non-probe detection | Meningitis+Encephalitis pathogens panel | - | Pt | CSF | - | Non-probe.amp.tar | 2.73
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 02 | PCR_CRYPTO_NEO_GAT | Cryptococcus neoformans/gattii | Cerebrospinal fluid (CSF) specimens obtained via lumbar puncture | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 82181-9 | Cryptococcus gattii+neoformans DNA [Presence] in Cerebral spinal fluid by NAA with non-probe detection | Cryptococcus gattii+neoformans DNA | PrThr | Pt | CSF | Ord | Non-probe.amp.tar | 2.73
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 02 | PCR_CMV | Cytomegalovirus | Cerebrospinal fluid (CSF) specimens obtained via lumbar puncture | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 82189-2 | Cytomegalovirus DNA [Presence] in Cerebral spinal fluid by NAA with non-probe detection | Cytomegalovirus DNA | PrThr | Pt | CSF | Ord | Non-probe.amp.tar | 2.73
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 02 | PCR_ENTEROV | Enterovirus | Cerebrospinal fluid (CSF) specimens obtained via lumbar puncture | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 82194-2 | Enterovirus RNA [Presence] in Cerebral spinal fluid by NAA with non-probe detection | Enterovirus RNA | PrThr | Pt | CSF | Ord | Non-probe.amp.tar | 2.73
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 02 | PCR_ESCCOL_K1 | Escherichia coli K1 | Cerebrospinal fluid (CSF) specimens obtained via lumbar puncture | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 82182-7 | Escherichia coli K1 DNA [Presence] in Cerebral spinal fluid by NAA with non-probe detection | Escherichia coli K1 DNA | PrThr | Pt | CSF | Ord | Non-probe.amp.tar | 2.73
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 02 | PCR_HAEINF | Haemophilus influenzae | Cerebrospinal fluid (CSF) specimens obtained via lumbar puncture | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 82183-5 | Haemophilus influenzae DNA [Presence] in Cerebral spinal fluid by NAA with non-probe detection | Haemophilus influenzae DNA | PrThr | Pt | CSF | Ord | Non-probe.amp.tar | 2.73
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 02 | PCR_HSV_1 | Herpes simplex virus 1 | Cerebrospinal fluid (CSF) specimens obtained via lumbar puncture | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 82190-0 | Herpes simplex virus 1 DNA [Presence] in Cerebral spinal fluid by NAA with non-probe detection | Herpes simplex virus 1 DNA | PrThr | Pt | CSF | Ord | Non-probe.amp.tar | 2.73
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 02 | PCR_HSV_2 | Herpes simplex virus 2 | Cerebrospinal fluid (CSF) specimens obtained via lumbar puncture | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 82191-8 | Herpes simplex virus 2 DNA [Presence] in Cerebral spinal fluid by NAA with non-probe detection | Herpes simplex virus 2 DNA | PrThr | Pt | CSF | Ord | Non-probe.amp.tar | 2.73
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 02 | PCR_H_HV_6 | Human herpesvirus 6 | Cerebrospinal fluid (CSF) specimens obtained via lumbar puncture | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 82192-6 | Herpes virus 6 DNA [Presence] in Cerebral spinal fluid by NAA with non-probe detection | Herpes virus 6 DNA | PrThr | Pt | CSF | Ord | Non-probe.amp.tar | 2.73
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 02 | PCR_H_PEV | Human parechovirus | Cerebrospinal fluid (CSF) specimens obtained via lumbar puncture | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 82193-4 | Parechovirus A RNA [Presence] in Cerebral spinal fluid by NAA with non-probe detection | Parechovirus A RNA | PrThr | Pt | CSF | Ord | Non-probe.amp.tar | 2.73
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 02 | PCR_LISMOC | Listeria monocytogenes | Cerebrospinal fluid (CSF) specimens obtained via lumbar puncture | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 82184-3 | Listeria monocytogenes DNA [Presence] in Cerebral spinal fluid by NAA with non-probe detection | Listeria monocytogenes DNA | PrThr | Pt | CSF | Ord | Non-probe.amp.tar | 2.73
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 02 | PCR_NEIMEN | Neisseria meningitidis | Cerebrospinal fluid (CSF) specimens obtained via lumbar puncture | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 82185-0 | Neisseria meningitidis DNA [Presence] in Cerebral spinal fluid by NAA with non-probe detection | Neisseria meningitidis DNA | PrThr | Pt | CSF | Ord | Non-probe.amp.tar | 2.73
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 02 | PCR_STRAGA | Streptococcus agalactiae | Cerebrospinal fluid (CSF) specimens obtained via lumbar puncture | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 82186-8 | Streptococcus agalactiae DNA [Presence] in Cerebral spinal fluid by NAA with non-probe detection | Streptococcus agalactiae DNA | PrThr | Pt | CSF | Ord | Non-probe.amp.tar | 2.73
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 02 | PCR_STRPNE | Streptococcus pneumoniae | Cerebrospinal fluid (CSF) specimens obtained via lumbar puncture | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 82187-6 | Streptococcus pneumoniae DNA [Presence] in Cerebral spinal fluid by NAA with non-probe detection | Streptococcus pneumoniae DNA | PrThr | Pt | CSF | Ord | Non-probe.amp.tar | 2.73
BioFire Diagnostics, LLC | FilmArray | See UID Tab | GTIN | 02 | PCR_VZV | Varicella zoster virus | Cerebrospinal fluid (CSF) specimens obtained via lumbar puncture | Ordinal Not Detected, Detected |  | See UID Tab | GTIN |  | 82188-4 | Varicella zoster virus DNA [Presence] in Cerebral spinal fluid by NAA with non-probe detection | Varicella zoster virus DNA | PrThr | Pt | CSF | Ord | Non-probe.amp.tar | 2.73

## UID
Model | Equipment UID
FILMARRAY 2.0 INSTRUMENT | 00815381020031
FILMARRAY 2.0 INSTRUMENT (W) | 00815381029058
FILMARRAY TORCH SYSTEM BASE | 00815381020253
FILMARRAY TORCH SYSTEM BASE (W) | 00815381029096
FILMARRAY TORCH INSTRUMENT MODULE | 00815381020277
FILMARRAY TORCH MODULE BOX (W) | 00815381029089
Panel | Testkit UID
FILMARRAY ME PANEL, 30 TESTS | 00815381020123
FILMARRAY ME PANEL, 6 TESTS | 00815381020130